STATE OF DELAWARE

# Architectural Accessibility Board

540 S. DuPont Highway, Suite 1

Dover, Delaware 19901

MINUTES

- CALL TO ORDER

The March 10, 2016, meeting of the State of Delaware’s Architectural Accessibility Board was called to order by the chairman Chad Toms. In addition to Mr. Toms, the record will show that the following board members participated in the meeting, either by email (E) or by their actual presence (P): Scott Ward(P), Martin Markiewitz (P),  Jennifer Ridgley (P), Chang Yoon (P), John Nanni (P) and Steve Tull(P).

Also in attendance:	Jennifer Lieber, Chief Administrator

- APPROVAL OF PREVIOUS MINUTES

The motion to approve the minutes of the Board’s previous meeting, held on

February 11, 2016, was made and seconded. By a unanimous vote, the minutes were approved as recorded.

- DISCUSSION OF AGENDA

Seven additional cases were added by the Administrator.

1. 16023 - 	Kent County Family Court Paver Replacement

2. 16031-	Maple Lane Elementary Paving Rehabilitation

3. 16032-	Baylor Women’s Correctional Institution

Housing Units 3&4 Bathroom Renovations

4. 16035-	East Main Street (SR 273) at The Green

5. 16036-	Sussex County Family Courthouse Waiver Request

6. 15158-	Marydale Retirement Village Apartments – Revision

7. 16005 – R	Smyrna Rest Area ADA Improvements

- CHIEF ADMINISTRATOR’S UPDATE

The Chief Administrator reported to the Board on her activities for the preceding month.  These activities were routine in nature and consisted of normal field inspections, preliminary plan reviews, complaint issues and miscellaneous accessibility inquiries.  In addition, the following projects (all having no accessibility issues and/or impact) were approved by the Administrator, and were presented to the Board for their endorsement/acceptance of the approval:

1.	16013-		Howard R Young Correctional Inst. – Boiler replacement

2.	16017-		NVF Yorklyn Site – Wetland Project

3.	16019-		Facilities Maintenance Building, Georgetown – Roof Replacement

4.	16024-		Village #3 Roof Renovation (DSU Proj #FD-15-026)

5.	16025-		Price 1st floor North Windows (DSU Proj #FD-15-082)

6.	16026-		Delaware Hall Storm Drainage Imp. (DSU Proj #FD-15-123)

7.	16027-		Price 1st floor North HVAC (DSU Proj #FD-15-081)

8.	16028-		Education & Humanities Boiler Repl. (DSU Proj #FD-15-098)

9.	16029-		Alumni Stadium Storm Drainage Imp. (DSU Proj #FD-15-128)

10.	16030-		Talley Middle School – Reroofing and parapet repair

11.	16033-		Campus Lighting Improvements (DSU Proj #PC-16-002)

12.	16034-		Education & Humanities Roof Repl. (DSU Proj #PC-16-004)

- SUBMISSIONS REVIEW COMMITTEE REPORT

The Submissions Review Committee of the Architectural Accessibility Board met on Thursday, February 25, 2016.  They reviewed the following ten (10) cases and they were forwarded to the full Board for their review.  The Board’s comments and actions on these cases and for the additional seven (7) cases are attached as part of these minutes.

- OLD BUSINESS

The status of House Bill 200 was discussed.  There have been revisions made to the Bill and it is still in discussion.  No updates as to the revised wording of the Bill or the projected date for voting.

- NEW BUSINESS

No new business.

- SCHEDULE OF NEXT MEETING

The next meeting of the Architectural Accessibility Board was tentatively scheduled for Thursday, April 14, 2016, at 1:30 PM.  The location will be the State Fire Service Center in New Castle.

- ADJOURNMENT

With nothing further to review or discuss, the meeting was adjourned.

Respectfully submitted,

Jennifer Lieber, Chief Administrator, AAB

JLL

| SUBMISSION NUMBER | 16004 |
| --- | --- |
| OWNER | New Castle County |
| PROJECT | The Flats Apartment and Community Buildings |
| DESIGNED BY | Architectural Alliance |
| CONTACT PERSON | Toren Williams |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the second phase of the construction of 12 apartment buildings including a community room. The previous phase was reviewed and approved on February 5, 2015. The plans are the same with the exception of the community space. This space is compliant. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16011 |
| --- | --- |
| OWNER | OMB |
| PROJECT | Tenant fit-out for offices and meeting rooms |
| DESIGNED BY | French & Ryan, Inc |
| CONTACT PERSON | Pat Ryan |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the fit-out of an existing building. The offices will be used by Representatives and their staff while visiting this region. There are two existing single user toilet rooms. Neither are currently compliant. Renovations to one toilet room is being completed to achieve compliance. There are no path of travel requirements. |
| RECOMMENDATION | Approved upon submission of revised drawings |

| SUBMISSION NUMBER | 16012 |
| --- | --- |
| OWNER | OMB |
| PROJECT | Division of Revenue 9th Flr Renovations – Phase 2 |
| DESIGNED BY | Bernardon |
| CONTACT PERSON | Douglas Eriksen |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the renovation to the 9th floor of the Carvel building to efficiently reorganize the existing space and enhance the security. The base plan is not compliant, however there are two alternatives, both of which are compliant. The existing bathrooms and access are compliant. There are no POT requirements. |
| RECOMMENDATION | Approved with the condition that either Alt.1 or Alt. 2 are included in the final scope. |

| SUBMISSION NUMBER | 16014 |
| --- | --- |
| OWNER | Caesar Rodney School District |
| PROJECT | Charlton School |
| DESIGNED BY | StudioJAED |
| CONTACT PERSON | Philip Conte |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for enlarging an existing single user toilet room to accommodate a wall mounted transfer station and chair. The horizontal grab bar has to be shortened to accommodate the equipment, however there is an additional accessible toilet room across the hall. There are no POT requirements. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16015 |
| --- | --- |
| OWNER | OMB |
| PROJECT | Plummer Community Corrections Center Fence Renovations |
| DESIGNED BY | RG Architects |
| CONTACT PERSON | Oscar Enderica |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the replacement of the existing fence at the corrections center and the addition of fencing on the south side of the facility. The gates and access thru them are compliant. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16016 |
| --- | --- |
| OWNER | DNREC |
| PROJECT | Fort Miles Bathhouse – Cape Henlopen State Park |
| DESIGNED BY | CXT Precast Products/ DNREC |
| CONTACT PERSON | Kevin Rychlicki |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for a new precast bathhouse facility. There are four, family style restrooms all with transfer showers. All of the restrooms are compliant and have compliant sidewalk access to them. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16018 |
| --- | --- |
| OWNER | DHHS |
| PROJECT | Stockley Center Building – Telamon Head Start Renovation Project |
| DESIGNED BY | Studio Jaed |
| CONTACT PERSON | Philip Conte |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the renovation of an existing area to accommodate a new Head Start program. This includes the renovation of existing bathroom facilities. Although the renovations are compliant, we would like to make the recommendation that the bath fixtures be mounted in accordance with the guidelines for children under the age of 5. Currently all of the fixtures are showing adult dimensions. There are no POT requirements. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16020 |
| --- | --- |
| OWNER | DSU |
| PROJECT | Warren Franklin Hall ADA Shower Improvements |
| DESIGNED BY | StudioJAED |
| CONTACT PERSON | Philip Conte |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the renovation of the existing ADA shower units. New grab bars, enclosures, thresholds and controls will be installed. The project is compliant and there are no POT requirements. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16021 |
| --- | --- |
| OWNER | NCC Vocational Technical School District |
| PROJECT | Howard High School of Tecnology |
| DESIGNED BY | ABHA Architects |
| CONTACT PERSON | Chandra Nilekani |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the renovation of the existing 1927 building. The following accessible elements are being added: New elevators to access all levels ADA accessible bathrooms ADA compliant water fountains Door openers will be provided on classroom doors where there is not proper clearance New lift for the Auditorium stage Accessible seating area in the Auditorium The project is compliant and there are no POT requirements. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16022 |
| --- | --- |
| OWNER | DelDOT |
| PROJECT | New Prototype Bus Shelters and Rodney Square Bus Shelters |
| DESIGNED BY | Tevebaugh Associates |
| CONTACT PERSON | Valerie Davis |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for new bus shelters for the Rodney Square area and a new prototype shelter which will replace the existing shelter in the state over time. The shelters are compliant, however no information on access to the shelters was supplied. The approval should be only for the physical shelter and not the location or access. |
| RECOMMENDATION | Approved the shelter design only |

| SUBMISSION NUMBER | 16023 |
| --- | --- |
| OWNER | OMB |
| PROJECT | Kent County Family Court Paver Replacement |
| DESIGNED BY | StudioJAED |
| CONTACT PERSON | David Spangler |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the replacement of the existing pavers, ramp and curb cuts at the KC Family Court. The project is compliant. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16031 |
| --- | --- |
| OWNER | Brandywine School District |
| PROJECT | Maple Lane Elementary Paving Rehabilitation |
| DESIGNED BY | CDA Engineering |
| CONTACT PERSON | Pete Mandeville |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the repaving of the school parking lot. There are 63 spaces total with 3 being accessible, one of which is van accessible. The sizes, slopes and signage are compliant. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16032 |
| --- | --- |
| OWNER | Department of Corrections |
| PROJECT | Baylor Women’s Correctional Institution Housing Units 3&4 Bathroom renovations |
| DESIGNED BY | RG Architects |
| CONTACT PERSON | Christopher Bowen |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the renovation of the existing shower and toilet areas in the housing units. The renovations are compliant. There are no POT requirements. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16035 |
| --- | --- |
| OWNER | DelDOT |
| PROJECT | East Main Street(SR 273) at The Green |
| DESIGNED BY | DelDOT |
| CONTACT PERSON | Matt Buckley |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the installation of full color pedestrian traffic signals at the existing crosswalk. The locations and mounting heights are compliant. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16036 |
| --- | --- |
| OWNER | OMB |
| PROJECT | Sussex County Family Courthouse – Waiver Application Bathroom Partition Replacement |
| DESIGNED BY | OMB |
| CONTACT PERSON | Don Gerardi, DFM |
| PREVIOUS ACTION | None |
| COMMENTS | This project is for the replacement of the existing bathroom partitions. The current bathrooms are not compliant for the following reasons: The existing accessible stall is only 59” wide and needs to be a minimum of 60” wide. The existing accessible stall has a sink per Delaware Code but the sink encroaches in the clear space as required by the ADA between the toilet area and any other fixture. None of the sinks have insulated pipes. There are no vertical or rear grab bars in the accessible stall. The clearance between the latch side approach on the door to the accessible stall and the sink is 38”. A distance of 42” is required as per 604.8.1.2. The following will be completed during the partition replacement: Both rear and vertical grab bars will be installed as per 604 of the ADA. New partitions will be installed with proper door width as is existing. All sink piping shall be insulated as per ADA. The new partition shall be mounted at a distance of 60” from the sidewall. They are requesting a waiver for the following items: The installation of new bathroom partitions without relocating the existing sinks in the accessible stalls. The distance between the accessible stall door and the existing sinks. |
| RECOMMENDATION | Review full floor plans to justify the infeasibility of rearranging or expanding the restrooms. |

| SUBMISSION NUMBER | 15158 |
| --- | --- |
| OWNER | DHSS |
| PROJECT | Marydale Retirement Village Apartments - Revision |
| DESIGNED BY | Kitchen & Associates |
| CONTACT PERSON | Eugene Schiavo |
| PREVIOUS ACTION | Approved December 2015 |
| COMMENTS | The original design that was approved in December of 2015 had an accessible 2-bedroom Managers unit. It was required to be accessible since there was not an equivalent accessible apartment that could house a manager if needed. The scope has changed and the Managers unit will now be a one-bedroom unit to allow for more space in the utility area adjacent to it. Since there 22 other accessible one-bedroom unit they are requesting that the Managers unit not be required to be accessible. The requirement from Fair Housing is for 5% of the units to be accessible and the project has supplied 20%. As long as the Manager is supplied an equivalent one-bedroom accessible apartment if needed the project is compliant. |
| RECOMMENDATION | Approved |

| SUBMISSION NUMBER | 16005 - R |
| --- | --- |
| OWNER | DelDOT |
| PROJECT | Smyrna Rest Area ADA Improvements |
| DESIGNED BY | Whitman, Requardt & Associates,LLP |
| CONTACT PERSON | Erik Larsen |
| PREVIOUS ACTION | Disapproved February 2016 |
| COMMENTS | This project is for ADA upgrades to the restrooms and the site at the Smyrna rest area. The project is compliant with the appropriate clearances, space count and access routes. |
| RECOMMENDATION | Approved |